Supporting Information

A study of thin film solid phase microextraction methods for analysis of fluorinated benzoic acids in seawater

Ezel Boyacıa,1, Krzysztof Gorynskia,b,1C. Ricardo Viteric,1, Janusz Pawliszyna*

aDepartment of Chemistry, University of Waterloo, 200 University Avenue West, Waterloo, Ontario, N2L 3G1, Canada

bDepartment of Pharmacodynamics and Molecular Pharmacology, Faculty of Pharmacy, Collegium Medicum in Bydgoszcz, Nicolaus Copernicus University in Toruń, Toruń, Poland

cEntanglement Technologies, Inc. 42 Adrian Ct. Burlingame, CA 94010

∗ Corresponding author. Tel.: +1 519 888 4641/+1 519 885 1210; fax: +1 519 746 0435/+15197460434.

E-mail address: janusz@uwaterloo.ca (J. Pawliszyn).

1 These authors contributed equally to the work.

Figure 1S.  DVB-PDMS membrane under various magnifications

Figure 2S.Extraction time profile of FBAs using HLB as extraction phase

Figure 3S. Correlation in the extracted amounts of 2,3,4,5-tetraFBA in real and synthetic seawaters

Figure 4S. Correlation in the extracted amounts of 4-FBA in real and synthetic seawaters

(a)

(b)

Figure 5S. Chromatograms of 4-FBA and 2,3,4,5-tetraFBA obtained after extraction with developedmethod (a) Synthetic seawater and (b) Mediterranean Seawater(spiked concentrations in samples: 10 ng mL-1)

Figure 6S. Schematic and working conditions for direct thermal desorption of extracted analytes to mass spectrometry (CIS: cooling injection system, TDU: thermal desorption unit, TF-SPME: thin film solid phase microextraction, GC: gas chromatography, ES-MS: electron impact ionization mass spectrometry, Ti: initial temperature, Tf: final temperature).

Figure 7S. Comparison of absolute recoveries for FBAs using DVB-PDMS membranes (Extraction conditions: extraction volume: 1.9 mL of GOM acidified with conc. HCl, analyte concentration: 132 ng mL-1, agitation conditions: 1800 rpm, extraction time: 60 min. Spike conditions: 1 µL of 250 µg mL-1 analyte spiked on the membrane or blade and injected in the instrument after solvent evaporation)

Figure 8S. Extraction time profile of 4-FBA using DVB-PDMS membrane (extraction volume: 1.9 mL of GOM acidified with conc. HCl, analyte concentration: 132 ng mL-1, agitation conditions: 1800 rpm)

Figure 9S. Extraction time profile of 2,3,4,5-tetraFBA using DVB-PDMS membrane (extraction volume: 1.9 mL of GOM acidified with conc. HCl, analyte concentration: 132 ng mL-1, agitation conditions: 1800 rpm)

Figure 10S. Linear range of extraction of 4-FBA using DVB-PDMS membrane (extraction volume: 1.9 mL of GOM acidified with conc. HCl, analyte concentrations: 5, 13, 26, 52, 132 and 263 ng mL-1, extraction time: 60 min, agitation conditions: 1800 rpm).

Figure 11S. Linear range of extraction of 2,3,4,5-tetraFBA using DVB-PDMS membrane (extraction volume: 1.9 mL of GOM acidified with conc. HCl, analyte concentrations: 13, 26, 52, 132 and 263 ng mL-1, extraction time: 60 min, agitation conditions: 1800 rpm).

Table 1S.Gulf of Mexico brine recipe

| Reagent | To make 1 liter, |
| --- | --- |
|  | add (in grams): |
| CaCl2•2H2O | 1.451 |
| SrCl2•6H2O | 0.023 |
| MgCl2•6H2O | 10.561 |
| NaCl | 26.839 |
| KCl | 0.692 |
| Na2SO4 | 4.085 |
| CaBr2•2H2O | 0.119 |

Note: SrCl2 and CaBr2 were not added

Table 2S. Instrumental parameters used for ESI ExactiveTM Orbitrap mass spectrometer

| Instrumental parameters | Value |
| --- | --- |
| Spray voltage | 3.2 kV |
| Capillary temperature | 275 oC |
| Sheath gas flow rate | 55 au |
| Auxiliary gas flow rate | 30 au |
| Sweep gas flow rate | 5 au |
| Capillary voltage | -67.5 V |
| Tube lens voltage | -117 V |
| Skimmer voltage | -25 V |

Table 3S. Carry-over on each TF-SPME blades determined in second desorption (extraction conditions: concentrations of analytes in PBS: 50 ng mL-1, extraction and desorption volumes: 1.5 mL, extraction and desorption times: 60 min, n=3)

|  | HLB |  | C18 |  | SAX |  | SAX-HLB |  | PS-DVB-WAX |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 4-FBA | 2,3,4,5- tetraFBA | 4-FBA | 2,3,4,5-tetraFBA | 4-FBA | 2,3,4,5-tetraFBA | 4-FBA | 2,3,4,5-tetraFBA | 4-FBA | 2,3,4,5-tetraFBA |
| Solvent A | ˂LOQ | 6% | ˂LOQ | ˂LOQ | ˂LOQ | ˂LOQ | ˂LOQ | 6% | 18% | 8% |
| Solvent B | ˂LOQ | 1% | ˂LOQ | ˂LOQ | ˂LOQ | 14% | ˂LOQ | 3% | ˂LOQ | 6% |
| Solvent C | ˂LOQ | 2% | ˂LOQ | ˂LOQ | ˂LOQ | ˂LOQ | ˂LOQ | 1% | 9% | 14% |
| Solvent D | ˂LOQ | 2% | ˂LOQ | ˂LOQ | ˂LOQ | ˂LOQ | ˂LOQ | 2% | 8% | 11% |

Solvent A: ACN/MeOH/H2O (40/40/20, v/v/v) acidified to contain 0.1% (v/v) FA

Solvent B: ACN/H2O (80/20, v/v)

Solvent C: ACN/H2O (80/20, v/v) acidified to contain 0.5% (v/v) FA

Solvent D: ACN/MeOH (80/20, v/v)

˂LOQ: below limit of quantification